## Slide 1: Fracture Roughness – 600 grit Normal Stress & Pore Pressure Oscillations
Experiments conducted: 30/12/2021 – 05/01/2022
Successful Experiments: p5607, p5608
Operator: C. Wood

## Slide 2
Experiments p5607 & p5608 – A quick look
Receivers
Transmitters
 | p5607 | p5608
Roughness | Sawcut @ 600 grit | 
Osc. Type | NS | Pp
Stress Level(s) | 10, 12.5, 15, 17.5, 20 MPa | 
Osc. Protocol | [0.2, 0.3, 0.4, 0.5, 0.4, 0.6, 0.4, 0.7, 0.4, 0.8, 0.4, 0.9, 0.4, 1.0] MPa @ 1Hz [0.2, 0.4, 0.6, 0.8, 1.0, 1.0, 1.0, 1.0, 1.0] MPa @ 1Hz | 
Flow B.C. | Drained, = 1.2 MPa | 
Directory Size | 1557179138 Bytes | 1628900162 Bytes
 | p5607 | p5608
Roughness | Sawcut @ 600 grit | 
Osc. Type | NS | Pp
Stress Level(s) | 10, 12.5, 15, 17.5, 20 MPa | 
Osc. Protocol | [0.2, 0.3, 0.4, 0.5, 0.4, 0.6, 0.4, 0.7, 0.4, 0.8, 0.4, 0.9, 0.4, 1.0] MPa @ 1Hz [0.2, 0.4, 0.6, 0.8, 1.0, 1.0, 1.0, 1.0, 1.0] MPa @ 1Hz | 
Flow B.C. |  | 
Directory Size | 1557179138 Bytes | 1628900162 Bytes
Excitation freq: 0.5 MHz
Time b/w pulses: 0.2 ms
Recording freq: 25 MHz

## Slide 3
p5605 – pressure sensitive film
Follow-up with pressure films in vertical configuration outside vessel

## Slide 4
p5607/8 – sawcut fracture @ 600 grit

## Slide 5
p5607

## Slide 6
p5607

## Slide 7
p5607

## Slide 8
p5608

## Slide 9
p5608

## Slide 10
p5608

## Slide 11
Sanity check
600 grit RMS roughness
Trans-Tek 244 DCDT
HG Calibration: 0.62 mm/V
Noise Level ~ 1 mV ~ 0.62 um

## Slide 12
Corrugated Fracture (small & large amp roughness)
Large amplitude roughness: 0.5 mm, λ=1 mm
Small amplitude roughness: ~50 um